A Data Mining Approach to Study Occupant Behavior Motivation

Xinyuyang Ren

Supervisors:

prof.ir. W. (Wim) Zeiler,

ir. G. (Gert) Boxem

dr. Y. Zhao

ABSTRACT

This article introduced a data-based methodology to investigate the motivation behind people’s behavior, followed by a case study on people’s adjustment of ventilation system in a Dutch community. In the individual level, a machine learning based approach was applied to predict occupants’ behavior and reveal the motivation behind. In the community level, the results from different occupants were compared and discussed, aimed at seeking for possible behavior pattern among different people.

INTRODUCTION

Motivation

The real energy consumption of building depends not only on deterministic aspects such as building physics and design of HVAC systems, but also on stochastic aspects such as weather and occupants' behavior. However, so far the occupant behavior has not been adequately modeled when calculating the expected performance of building. Consequently, field test studies all over Europe have shown discrepancies between real and expected performance of building [17] [18].

Also, in the frontier of intelligent building research, one of the most important features that could indicate a building to be ‘intelligent’ is effective interaction with its occupants [21]. With a better understanding of people’s preference, the building control system could generate tailored strategies for its occupants.

Therefore, an effective behavior model would contribute in more than one aspect to the advance of built environment research. Before the occupants’ behavior could be sufficiently modeled, it is critical to understand it from real records.

case description

De Kroeven in Roosendaal is a housing stock built around 1964. Between April 2010 and April 2011, it was completely renovated on the basis of passive house principles with comprehensive energy reduction measures, including a very good insulation shell, an effective sealing of cracks and a balanced ventilation system with heat recovery for each house. As the result, the energy consumption should decrease 60%-70% compared with before [4].

Figure 1 De Kroeven Community

After the finish of the renovation work, in order to test if the presumed performance has been reached, a monitoring program was launched. Between the year 2013 and 2015, varies of sensors were installed in 10 experimental houses and recorded the information regarding the domestic energy consumption, indoor environment as well as system running parameters etc. This database is used to conduct the study introduced in this article.

Table 1 De Kroeven Monitoring Program Database

| Category | Items | Interval |
| --- | --- | --- |
| Weather Condition | Average Temperature [℃] | 1 hour |
|  | Average Relative humidity [%] | 1 hour |
|  | Average Irradiation [W/m²] | 1 hour |
|  | Average Wind speed [m/s] | 1 hour |
| Indoor Environment (living room and 2 bedrooms) | Indoor Temperature [℃] | 3 min |
|  | Relative humidity [%] | 3 min |
|  | Concentration [ppm] | 3 min |
|  | Ventilation System Supply Air Temperature [℃] | 3 min |
| Occupant Behavior | Window state [0/1] (living room, 2 bedrooms, attic) | 3 min |
| Energy Consumption | Gas Consumption [m3] | 1 hour |
|  | Electricity Consumption [Kwh] | 1 hour |

Research question

The ventilation system installed in De Kroeven community has 3 different positions for ventilation flowrate, which is adjustable by occupants through a control panel. The occupants’ interaction with the ventilation control panel is selected as the case study. Then the main research questions could be listed as

- Question 1 What is the motivation for an occupant to increase/decrease ventilation flowrate?

- Question 2 For different occupants, whether do they behave in the same way and, how similar/different are they?

METHDOLOGY

To answer the research questions raised in the previous chapter, different techniques are introduced respectively.

The reason why people are adjusting the panel could be seen as a feature selection question in the perspective of data mining. Mathematically it’s possible to build a model to predict people’s behavior under a certain circumstance, then the features that are more informative could be evaluated quantitatively. In the machine learning domain, an L1-regularized logistic regression is a robust solution for feature selection.

In the community level, the task would be compare among different people and find similarities/differences: it’s called clustering in the data mining domain. This kind of algorithms, such as widely-used K-means, could group different samples into several clusters with the best optimized similarity inside each cluster and difference among different clusters.

In this section, the technique involved would be briefly introduced.

L1-regularized Logistic regression

Logistic regression [13], despite its name, is a linear model for classification rather than regression. It is also known in the literature as logit regression, maximum-entropy classification (MaxEnt) or the log-linear classifier.

Based on its linear nature, in this study the coefficient of each feature in a trained logistic regression model is used to evaluate the importance of this feature. The effectiveness, interpretability and robustness of this approach have been validated by many peer researchers [7] [17] [18] [19] [20].

This is a standard linear regression formula

hθx= θtx

where x is a series of features, is a vector containing coefficients for each feature and represents the regression result. While in logistic regression, since we want to do a classification instead of regression, the linear regression equation is fitted in to a sigmoid function

gz= 11+e-z

Finally, the equation of logistic regression becomes

hθx= 11+e-θtx

The function is plotted in below Figure 2.1. It could be observed that the range of logistic regression output is between 0 and 1. A threshold, say 0.5 could be chose to divide two different categories (i.e. if output < 0.5, predict the case to be in category 0, else predict category 1).

Figure 2 Logistic Regression Output

After training with the dataset, which aimed at finding optimized θ to minimize the cost function

Jθ=-1mi=1myiloghθxi+1-yilog⁡(1-hθxi)

the model is adjusted to minimize the prediction error based on the training set and the coefficients of each feature, i.e. the could then be used to evaluate the relative importance of each feature in its classification process.

In addition, in this project the logistic regression kernel used is with L1-norm regularization, which means when calculating error in the cost function, there is an extra penalty factor coming from the L1-norm of the coefficient vector.

Jθ=-1mi=1myiloghθxi+1-yilog1-hθxi+ λi=1nϑi

As linear model penalized with L1 norm tends to give sparse solutions i.e. many of its estimated coefficients would be zero, it could be used for feature selection purpose [10].

The logistic regression runs repeatedly to make a recursive feature elimination. First, the estimator is trained on the initial set of features and weights are assigned to each one of them. Then, features whose absolute weights are the smallest are pruned from the current set features. At last, the most informative feature combination (judged by cross-validation accuracy) in this case could be determined, which could imply the cause of occupant behavior.

K-means clustering

K-means clustering [14] is one of the simplest unsupervised learning algorithms that solve the well-known clustering problem with good interpretability. It aims to partition n observations into k clusters in which each observation belongs to the cluster with the nearest mean. The clustering partition with high intra-cluster similarity and low inter-cluster similarity would be considered as good performance.

Specifically, the algorithm follows a simple way to cluster a given data set through a certain number of clusters. The basic idea is to first define k centroids, one for each cluster, which should be placed in a cunning way because different location causes different result. The next step is to take each point belonging to a given data set and associate it to the nearest centroid. When no point is pending, the first step is completed and an early grouping is done. At this point we need to re-calculate k new centroids as the barycenter of the data points belonging to a certain cluster resulting from the previous step. After we have these k new centroids, a new binding could be done in a similar way, between the same data set points and the nearest new centroid. So far the loop has been generated. As a result of this loop, we may notice that the k centroids change their location step by step until no more change. In other words, centroids do not move any more after a certain number of loops.

Finally, this algorithm aims at minimizing an objective function, in this case a squared error function.

J= j=1ki=1nxi(j)-cj2

where xi(j)-cj is the chosen distance measure between a data point and the cluster center it belongs to. In this case, we choose Euclidean distance as the distance measure method.

In this study, the K-means clustering is used to group occupants from 10 different houses into several types. This approach has been validated also by the research from Simona et al. [7] and Andersen, Rune, et al [20].

DATA PIPELINE

Chapter 3 Data analysis for ventilation system operation

This chapter elaborates a data analysis case study for one house regarding its occupants’ operation on the ventilation system, based on the system electricity consumption signal and other relevant sensor records.

3.1 Context

As mentioned in the project introduction, there is a balanced ventilation system with heat recovery installed inside every renovated house in De Kroeven project, of which the ventilation flow rate is controlled by a fan system, and adjustable by occupants. However, due to some reason it is not possible to directly record people’s operation on this ventilation system.

The electricity consumption of the fan system is recorded every 3 minutes by a smart meter in terms of pulse. Obviously, occupants’ flow rate setting could put significant influence on the electricity consumption (e.g. once the occupant turns the flow rate into a higher option there should be a steep increasing edge on the electricity consumption signal), which could provide possibility to calibrate when and how people adjust their ventilation system based on the electricity consumption.

Figure 3.1 One-day electricity consumption signal of the fan system

However, on the one hand, as shown in Figure 3.1, with the influences from back pressure, wind speed etc., the record is not an ideal clean square wave, as we originally thought, indicating the adjustment only. Instead, it is quite noisy. On the other hand, there are many different houses in the project with similar structure but the scales of records may vary. As the consequence, it is not practical to calibrate the ventilation position change by presuming fixed intervals manually (like the number of pulse less than 3 infers to position 1 while between 3 and 5 infers to position 2 etc.), for which it is difficult to determine the dividing boundaries and also could result in considerable miscounts from the noises. A new algorithmic method is needed to ease the noise and detect the changes, finally calibrate the occupants’ operations out from electricity consumption signal automatically.

After the calibration we should have known ‘when’ and ‘how’ occupants interact with their ventilation system, then it is needed to answer ‘why’ they are doing so, according to the problem description. As introduced in the previous chapters, the monitoring program also includes the records of indoor environment parameters and outside weather information etc., thus the task could be described as find the most informative/influential features in occupants’ decision making process. Technically, it could be solved by developing a machine learning classifier trying to predict occupants’ reaction to a certain circumstance, and evaluate the importance of each feature mathematically inside the algorithm.

3.3 Noise reduction and edge detection

After essential preprocessing and cleaning steps, in which the missing values are backfilled by their closest subsequent neighbors and the date & time string is compiled to the system-recognizable timestamp, we get a system electricity consumption signal like shown in Figure 3.2.

As mentioned above, a sudden change in the signal could imply the occupants’ interaction with the system as long as the noise (caused by wind etc. or system itself) and “fake operation” (status change with too-short duration) could be effectively filtered out.

Figure 3.2 Operation, noise and fake interaction

In the previous research work before this study, researchers used to calibrate each position with fixed interval. E.g. in this case, positions with pulse no. fallen in [0,4] are assigned as ‘position 1’, while (4,8) for ‘position 2’ and pulse no. larger than 8 represents ‘position 3’. Follow this approach, the user operation frequency could be seriously over-estimated since both the noise (e.g. in circle 1) and ‘fake operations’ (e.g. in circle 2) are counted as effective user operation. In fact, in the previous report the researchers estimated this house with over 1,000 operations per year, which is apparently too much for a regular ventilation system controller. To make things worse, with the fixed-interval approach, for each house the intervals need to be decided case by case since the scope of the no. of pulse in different house may vary. In the next paragraphs, I will show how does the filter-based approach developed in this study solve all the issues mentioned above by automatically marking the effective operational edges and filtering out the noises and ‘fake operations’.

Through a finely-tuned 1st derivative Gaussian filter, with a proper parameter combination, in this case containing a sigma value of 10 and a threshold value of 0.35, the noise and fake operations last less than 3 minutes could be effectively filtered and the valid operations could be marked out. Figure 3.4 below shows the comparison among the noise-reduced smooth signal, edge-detected 1st derivative signal and the original electricity consumption signal with the detected valid operation marked out by red vertical lines.

Figure 3.3 The working process of noise reduction and edge detection

In Figure 3.3 above, (a) is the raw signal of fan electricity consumption, with noise and fake operations; (b) shows the signal after the Gaussian filter, with which the signal is smoothed and the noise is reduced; (c) is the 1st derivative signal of (b), each peak here could imply an edge in (b), with a proper threshold, we can filter out the real operation edge we want in a certain sensitivity. (d) is the output of this filter, which is the original signal with operation edge marked out according to the positions indicated from (c). It could be observed that the finely-tuned algorithm could automatically ignore the noise and fake operation, only mark the real operation edge we want.

With a larger scale in2 years, the operation detected could be presented in the Figure 3.4, in which +1 represents increasing operation while -1 represents decreasing operation.

Figure 3.4 ventilation position setting operation

3.4 Feature selection

Then the marked data set would undergo an undersampling process since the dataset is now skewed i.e. the no. of records marked with ‘no operation’ is far more than ones with operation, either flowrate increase or decrease. In the undersampling process, we randomly picked a fraction of the records with ‘no operation’ to ensure the data set has balanced scales with each class, which is essential to guarantee the effectiveness of the statistical classification algorithm.

After undersampling, the training set would be normalized, which means the values are re-scaled into a zero-mean and unit-variance distribution, so that the coefficient of the linear model we used could indicate the relative importance of each feature.

Then the normalized dataset is fed into a L1-penalized logistic regression classifier. As mentioned in Chapter 2, a linear model penalized with L1 norm has sparse solutions i.e. many of its estimated coefficients would be zero, thus could be used for feature selection purpose. Figure 10 below shows an example of the coefficients output for the classier distinguish ‘no operation’ and ‘increase operation’.

Figure 3.5 Feature importance output of increase operation

As shown in figure 3.5, each feature is assigned with a value that indicate its relative importance in people’s decision-making process. The explanation of each abbreviation is shown in table 3.1.

Table 3.1 Abbreviation Explanation

| Abbreviation | It stands for |
| --- | --- |
| openwin | No. of opened windows in the house |
| Month | Month of year [1,12] |
| HourofDay | Hour of day [0,23] |
| avg | Average |
| t | Temperature (℃) |
| rh | Relative humidity (%) |
| irradiation | Irradiation outside |
| windspeed | Wind speed outside (m/s) |
| CO2 | Indoor CO2 concentration (ppm) |
| br1/2/3 | Bedroom 1/2/3 |
| lr | Living room |

It could be observed that most less-informative features for this occupant have been filtered out with zero-coefficients, while the remaining, the number of opened windows, CO2 concentration in bedroom 3 and living room, as well as the relative humidity in bedroom 3, seem to be the most important motivations for this occupant to increase the ventilation flowrate.

Finally, the logistic regression runs repeatedly to make a recursive feature elimination. As the result the top 3 informative features are selected in this case, namely the number of opened windows, CO2 concentration in bedroom 3 and the relative humidity in bedroom 3 respectively. Based on these three features the algorithm could reach an accuracy of 87.5%.

Figure 3.6 The RFECV result of increase operation

Similarly, the analysis could be made regarding distinguish “no operation” and “decrease operation” in order to find the cause for this occupant to decrease ventilation flowrate.

Figure 3.7 Feature importance output of decrease operation

It could be observed that compared with increase operation, the causes of decrease operation for this occupant seems to be simpler, dominated by the relative humidity in bedroom 3, while the number of opened window still contributes a little bit.

From the previous analysis, this occupant cares about his/her indoor environment, especially in the bedroom and he/she is aware of improving the indoor environment quality by interacting with the building control system.

3.5 Conclusion for the ventilation system analysis

In this chapter, the analysis process of ventilation system operation is elaborated with a case study from house no.2. The data pipeline designed is proven to be effective in answering “when” and “how” occupants interact with the system by the Gaussian-filter-based noise reduction and edge detection. Also, the logistic regression based feature selection could explain “why” people were perfuming those interactions. In the next chapter, the study will go beyond one house case, look into different houses and different occupants and try to group people into several typical user profiles.

Chapter 4 User Profiles

In the previous chapter we performed the data mining framework in one house to analyze the occupants’ operation on their ventilation system. During the monitoring program of De Kroeven project, there are in total 10 houses have been monitored. Thus the comparison among these 10 houses would be interesting and could lead our research into next level: find behavior patterns among different people. In this chapter we will try to answer the research question do the occupants from different houses behave similarly or differently, and how?

4.1 Positon change frequency

The operation frequency represents how often do the occupants operate the ventilation system and is counted by the edges detected by our algorithm mentioned in the previous chapter. It implies the awareness of occupants to control their indoor environment themselves by interacting with building control system. The statistics is collected for each house during 2 years.

Generally speaking, people started to get more proactivity upon the ventilation system in the year of 2014, compared to the previous year of 2013. More operations were performed in almost all houses (except for house no.4 and 5). That could because of the weather condition difference in 2 years since there is no man-made interference during the whole monitoring duration. Based on their operation frequency, those 10 houses could be clustered into 3 different types:

- Low frequency: houses no. 1,5,10 – less than 50 times per year

- Medium frequency: houses no. 4,7,8,9 - 100 ~ 200 times per year

- High frequency: houses no. 2, 3 ,6 - 300 ~ 450 times per year

Figure 4.1 Ventilation position change frequency

4.2 Ventilation position distribution.

There are three possible setting positions for the ventilation system installed in each houses studied. Besides the operation frequency, on what position did the ventilation system stayed for the most of time is another important issue. It implies the average ventilation capacity throughout the monitoring period.

Before this study, it was difficult to compare ventilation position among different houses since the lack of effective method to calibrate the position from electricity consumption record, also, the different scales of electricity consumption between the house type 505 and type 506 brought extra barrier. With the approach based on the 1st derivative Gaussian filter developed in this study, the position information could be isolated and extracted from electricity consumption, represented simply by position 1,2,3 and ready for comparing.

Below Figure 4.2 shows the ventilation position distribution of 10 houses.

Figure 4.2 ventilation position distribution

In every single violin plot above, the vertical axis represents the ventilation position (namely 1, 2 and 3) and horizontal axis represents the distribution density (note that it is the smoothed kernel density and the area of each part is used to deliver an intuition about its fraction within the whole, so the value is not exactly integer 1, 2, 3 only) while the read horizontal line indicates the average position. E.g. it could be observed that the occupant in house no.10 rarely touch their ventilation system and just keep it at position 2 for the most of time, thus they also got a relative low operation frequency in the previous Figure 4.1.

4.3 Cause pattern

The cause analysis, which is discussed in the previous Chapter 3.4, is to reveal the main driven factors of occupants’ behavior in the level of one single house. It could be expected that with more houses included, different people should hold different preferences and not behaving in the same way. Thus in this chapter the analysis is continued by a clustering process, trying to segment different occupants into several different cause types.

After the data pipeline discussed in the previous chapter, the relative importance of each feature could be extracted, the results from different occupants showed that the main driven factors for the occupants to interact with the ventilation system fall into two categories: time-related factors, including month, weekday/weekend, hour of day and indoor-environment-related factors, including indoor temperature, temperature of supplied ventilation air, relative humidity or CO2 concentration etc. Then with essential re-scaling, the occupants of those ten houses could be clustered into three different types by K-Means algorithm, as shown in the Figure.4.3.

Figure 4.3 Cause pattern of ventilation system operation

In Figure 4.3, the horizontal axis represents the importance of indoor environment in determining occupants’ behavior, while the vertical axis represents the importance of time-related factors. Three different types of occupants could be observed:

- Indoor environment sensitive occupants: house no. 2, 4, 6, 8

- Time sensitive occupants: house no.7, 9

- Mixed type occupants: houses no. 1, 3, 5, 10

The complexity of occupants’ behavioral pattern is demonstrated by the data analysis result. The Indoor environment sensitive occupants are more likely to interact with their ventilation control panel when they feel unsatisfied about the indoor comfort, while the time sensitive occupants are more likely to have fixed timetables for their behavior (e.g., as soon as they wake up or come back from work etc.) and there are also some people in between, as mixed-type occupants their behaviors are effected considerably by both factors in the same time.

4.4 Conclusion from the comparison of occupants

In this chapter, we take the study further, from the single house level to the comparison among ten different houses. The comparison is made upon the perspectives of operation frequency, position setting distribution as well as driven factors, from which a user profile could be generated for each group of occupants regarding their behavioral habits and preferences. The result could be used further to explain the impact of their behavior on indoor environment quality or energy consumption etc., also it provides us the possibility for incoming refurbishment with tailored design according to its occupants’ individual preference.

Chapter 5 Final Conclusion and Discussion

In the previous four chapters, details of the data mining framework developed in this research was elaborated with a case study De Kroeven Project. This chapter will contain a short summarization of all the key issues, final conclusions and some potential future plans for this topic.

5.1 Summarization and Conclusion

In this research, a framework combining statistical analysis with signal processing and data mining techniques was employed to study the occupant behavior of adjusting the ventilation control panel in ten recently-renovated passive houses in the Netherlands.

Due to the fact that the operation is not directly recorded in the database, for the first step the goal of this research was to identify 1) when, 2) how, and then 3) why each individual occupant interacts with the ventilation system from the electricity consumption signal and other indoor environmental data. Also, since there are 10 different houses in total included in the database of the monitoring program, later a comparison among them was also performed to identify the similarities as well as differences in their behavioral patterns.

For this goal, a 1st derivative Gaussian filter was developed and tuned to filter the noisy electricity consumption signal and automatically detect the edge, which could indicate the time and direction of occupant’s adjustment. Then, a logistic regression classifier was developed and tuned to predict occupant’s possible reaction to a certain circumstance, during which it also evaluates the relative importance of each feature in the decision-making process mathematically. In addition, with the help of L1-penalization and recursive feature elimination model, we could eliminate the uninformative features and remain the top 3 influential features for this occupant, which is the best parameters to explain the causes for this occupant’s behavior. So far, with these techniques, we could answer the question 1) when, 2) how, and 3) why for a certain occupant’s behavior. In a bigger picture, in the comparison among occupants from ten different houses, some unique user profiles were summarized, i.e. based on certain criteria, occupants could be grouped into several types by K-means clustering model.

As the result of the comparison work, the occupants from 10 different houses were grouped into several types according to the frequency and causes of their adjusting operation. The frequency of operation implies occupant’s awareness of control the indoor environment proactively via the ventilation system, which actually varies a lot from less than 50 times up to 450 times per year, we classified them in to three categories with low, medium and high operation frequency respectively.

The cause pattern implies the preference of occupant. Some of them were found to be more sensitive in indoor temperature or CO2 concentration than others and tend to react proactively to the change of these indoor environment parameters. For some other occupants, their behaviors tend to follow a regular agenda every day. Respectively we call those two kinds of occupants as environment-driven occupants and time-driven occupants. Of course, there are also people in between, whose behaviors are more complicated, influenced by both factors in the same time, and in this study they are assigned as mixed-type occupants.

In general, the data-based approach built in this research is able to effectively analyze people’s behavior and the causes behind. Instead of doing a survey or interview, the algorithmic method is more efficient and the result drawn from real database records is more reliable with less man-made disturbances.

5.2 Contribution of the study

This study makes its contribution in two perspectives, both for the De Kroeven project itself and the data-based behavior study methodology also.

For De Kroeven project: The previous researchers suggested in their report the awareness upon occupant behavior but related study is not fully performed. This study provided quantitative behavior analysis for De Kroeven project in a proven approach (logistic regression-based method [7] [17] [18] [19] [20]). Also, this approach could be demonstrated an improvement compared to the method previous researchers adopted.

For the data-based behavior study methodology: This study also contributed several novel parts technically, which are not contained in other related papers, including

- Operation detection from indirect resources: Instead of use direct records of occupants’ operation (like open/close window), a filter-based approach is built to automatically detect user’s operation from indirect sources (like electricity consumption in this case), which added up extra possibilities and extended the potential scope of behavior study. E.g. for some operations that is missing from database/difficult or costly to record, this approach could be effective.

- Recursive feature elimination (RFE) module to filter the most informative feature mathematically from massive amount of them. In other related researches, in order to avoid statistical difficulties, the features to monitor are either presumed by interview [18] or intentionally constrained into a small scope [19], which could be one-sided and introduce unnecessary man-made influence. Instead of study 4 or 5 features, this research studied 30 features in the same time, and was able to filter out the top 3 using L1-regularization and RFE, which is a proven method for feature selection in data science practice.

- User profile generation. This research is beyond the scope of study the behavior habits, preferences, motivations etc. of one certain occupant, it also contains a comparison among occupants from 10 different houses and try to find their similarities as well as differences in behavioral pattern. These people are clustered in to different “types” based on their behavior, which could provide a better understanding of the complexity of people.

5.3 Potential Future Plan

This research is a trial to combine the novel data science technique with a research topic in built environment field. The result implies the approach developed to be effective and since this kind of combined study still remains largely undiscussed, there are many more potential fields for this research to go further:

- The approach built is essentially a generic framework of data-based behavioral study. In the case study contained in this report it is used to study the ventilation panel adjustment, but it could also be used to study other behavior like window opening/closing, thermostat setting etc. A comprehensive understanding of occupants’ behavior could help bridge the gap between designed and actual building performance;

- This kind of behavior study provides a more accurate assumption of actual ventilation scenarios that may serve as reference for the simulation work in design phase, also, it allows building designers and operating manager to tailor more efficient and robust control strategies;

- The quantitative analysis of occupants’ behavior provides the possibility to study its consequence. E.g. researchers could further study the link between the occupants’ behavior and indoor energy consumption.

- In this research the causes of occupants’ behavior are analyzed by machine learning algorithms, which implied the capability of making building control systems to ‘understand’ its occupants. E.g. in this case the predictor built could predict a certain occupant’s reaction to a certain circumstance, then in the future the building control system may be able to do it for him/her automatically. The effective interaction between the building and occupants would play an important role in future intelligent building design.

Chapter 6 Business Potential

This chapter contains the discussion about the business potential of machine-learning-based products in the built environment industry.

In the previous chapters, it has been pointed out that the potential applications for the state-of-art machine learning technology in the built environment domain mainly fall into two categories: energy saving and intelligent building design. The former concentrates on improving building energy consuming strategy to use energy more efficiently while the latter is more about developing adaptive indoor control agents to satisfy the unique preferences or habits of occupants, in order to improve indoor comfort. In the following paragraphs, one case application that has been already pushed into market will be presented for each application.

Energy Disaggregation

Today, more and more building designers seek for the possibility to further save energy with the help from artificial intelligence. Energy disaggregation is one of their efforts, it allows us to take a whole building aggregated energy signal and separate it into appliance specific data via a set of statistical and machine learning approaches. E.g. with this technique, you could take a single measure of household power use -- say, smart meter data, or measurements from a single home sensor -- and get to know exactly how much power your air conditioning, water heating, kitchen appliances, household lighting and all other consumer electronics are using respectively.

Figure 6-1 An energy disaggregation example [22]

This technology captures value from being able to break out discrete energy loads to adapt to occupants’ using patterns, diagnose inefficiencies or imminent equipment failures, through algorithms and analytics.

In the recent years, many startups focusing on this technology emerged worldwide, such as Bidgely, which has closed a $16.6 million Series B round in 2015 to expand its HomeBeat energy management platform based on energy disaggregation technology. With this energy management platform, the company claims a peak load reduction of 25% and energy efficiency increase of 7.7% [23]. Other relevant startups include PlotWatt, Navetas, Energy Aware and also a KIC-Innoenergy owned Enervalis. In addition, some big companies including Belkin and Intel are also involved in this field since 2010.

By accomplishing peak load reduction and energy saving, the potential profitability of energy disaggregation has been validated by its investors, especially when extra sensor for each appliance is not needed, but the classification is done with the help of machine learning algorithms. The basic principle of this today’s so-called software-based energy disaggregation is the same as the methodology we used for this thesis project: machine-learning classifier and clustering algorithms.

Smart windows

The buildings today are often equipped with sophisticated sensing and control systems. However, the performance of such systems is often hindered by reactive control systems based on simple thresh holding or scheduling thus fail to adapt to the preferences of individual users.

For tasks such as heating, cooling, lighting or ventilation, information does exist that can be used to enhance performance and efficiency by predicting future states (outdoor temperature, occupancy history, for etc.) and learning occupants’ personal preference, but it is not extensively used today.

E.g., via the procedures of feature selection and clustering stated in Chapter 4, the building control systems are able to ‘understand’ its occupants. In this case the predictor built could predict a certain occupant’s reaction to a certain circumstance, then combined with the predicted future states, the building control system may be able to react automatically in advance, in the way its occupants prefer. The effective interaction between the building and occupants would play an important role in future intelligent building design.

Relevant startups are emerging, such as View, a California-based startup who makes electro-chromic windows, which are sometimes called “smart windows” because they can be programmed to absorb a different amount of light throughout the day in order to cool or warm up a room according to both the environment condition and occupants’ preference.

Figure 6-2 A demo smart building by View

In the perspective of finance, the round of funding, from Madrone Capital Partners, is a mix of equity and debt for this Milpitas-based startup, which focuses primary on the U.S. market but is expanding its effort to Europe and Asia. Since inception in 2007,

View has raised over $300 million in total.

As for the projects, the company counts the January 2012 installation at the Palo Alto office of software developer SAP as its first commercial-scale project. Since then, the company has seen roughly 50 installations of its smart windows in North America, at locations that include hotels, hospitals, government buildings and colleges.

Conclusion

From the previous cases introduced, it could be concluded that both the engineers and investors are optimistic upon the effectiveness and profitability of machine learning based products within the built environment industry. Since it is basically a software-based business model, the cost would be diluted via the effect of scale while the profit, which could come from the energy saving, living environment improvement and incentives, would continue increase with the popularization of this novel technology.

Acknowledgement

This work is a master thesis project conducted in the Department of the Built Environment, Eindhoven University of Technology, the Netherlands. The author very appreciated dr.ir. M.G.L.C. (Marcel) Loomans of TU/e for sharing the dataset and providing explanation about the monitoring program. During the project phase, the author received enlightening suggestions from prof.ir. W. (Wim) Zeiler, ir. G. (Gert) Boxem and dr. Y. (Yang) Zhao. Also, ir. Hussain Kazmi, data scientist from Enervalis, helped with improving the data pipeline structure. This work could not be finished without the contribution from each of them.

References

[1] Eurostat, Energy consumption in households, 1995 survey, European Commission, 1999.

[2] W. Feist, et al., Passivhaus Projektierungs Paket 2002, Anforderungen an qualita ̈tsgepru ̈fte Passivha ̈user, Passivhaus Institut, Darmstadt, 2002.

[3] Cost Efficient Passive Houses as European Standards http://www.cepheus.de/eng/index.html

[4] The report of monitoring program Kroeven 2013

[5] Fan, Cheng, Fu Xiao, and Chengchu Yan. "A framework for knowledge discovery in massive building automation data and its application in building diagnostics." Automation in Construction 50 (2015): 81-90.

[6] Khan, Imran, et al. "Fault detection analysis of building energy consumption using data mining techniques." Energy Procedia 42 (2013): 557-566.

[7] D'Oca, Simona, and Tianzhen Hong. "A data-mining approach to discover patterns of window opening and closing behavior in offices." Building and Environment 82 (2014): 726-739.

[8] Fan, Cheng, Fu Xiao, and Shengwei Wang. "Development of prediction models for next-day building energy consumption and peak power demand using data mining techniques." Applied Energy 127 (2014): 1-10.

[9] Ren, Xiaoxin, Da Yan, and Tianzhen Hong. "Data mining of space heating system performance in affordable housing." Building and Environment 89 (2015): 1-13.

[10] Dodge, Yadolah, ed. Statistical data analysis based on the L1-norm and related methods. Birkhäuser, 2012.

[11] Endrenyl, L. (1978), Statistics. by David Freedman, Robert Pisani, Roger Purves. W. W. Norton & Co., Inc., New York, 1978. xv + 506 + A83 pp., U.S. $13.95. ISBN 0-393-09076-0. [Instructor's Manual, 135 pp. ISBN 0-393-09041-8.]. Can J Statistics, 6: 137. doi: 10.2307/3314838

[12] Van Vliet, Lucas J., Ian T. Young, and Piet W. Verbeek. "Recursive Gaussian derivative filters." Pattern Recognition, 1998. Proceedings. Fourteenth International Conference on. Vol. 1. IEEE, 1998.

[13] Hosmer Jr, David W., and Stanley Lemeshow. Applied logistic regression. John Wiley & Sons, 2004.

[14] Andrew Moore: “K-means and Hierarchical Clustering - Tutorial Slides”

http://www-2.cs.cmu.edu/~awm/tutorials/kmeans.html

[15] UNC Edge Detector 1D. University of North Carolina at Chapel Hill http://www.cs.unc.edu/~nanowork/cismm/download/edgedetector/

[16] Wei, Shen, et al. "Analysis of factors influencing the modelling of occupant window opening behavior in an office building in Beijing, China." (2015).

[17] Calì, Davide, et al. "Analysis of occupants' behavior related to the use of windows in German households." Building and Environment 103 (2016): 54-69.

[18] Andersen, Rune Vinther, Bjarne W. Olesen, and Jørn Toftum. "Modelling window opening behaviour in Danish dwellings." Proceedings of indoor air (2011).

[19] Shi, Shanshan, and Bin Zhao. "Occupants’ interactions with windows in 8 residential apartments in Beijing and Nanjing, China." Building Simulation. Vol. 9. No. 2. Tsinghua University Press, 2016.

[20] Andersen, Rune, et al. "Window opening behavior modelled from measurements in Danish dwellings." Building and Environment 69 (2013): 101-113.

[21] Wong, Johnny KW, Heng Li, and S. W. Wang. "Intelligent building research: a review." Automation in construction 14.1 (2005): 143-159.

[22] Carrie Armel, “Energy Disaggregation”, Precourt Energy Efficiency Center, Stanford

December 2011.

[23] Bidgely Official Page http://www.bidgely.com/solutions/

This attachment is for the EIT-KIC Innoenergy program

http://www.greentechmedia.com/articles/read/bidgely-raises-16m-for-energy-disaggregation

https://gigaom.com/2010/11/16/belkin-and-power-map-bet-on-one-plug-approach/

https://www.greentechmedia.com/articles/read/intel-tests-whole-home-smart-power-sensors-in-texas

http://viewglass.com

http://www.forbes.com/sites/uciliawang/2014/01/07/a-startups-100m-plan-to-make-dumb-windows-smart/#56eba98e106c